ACSA SPARE PARTS

Because of the reliability of our product and the speed of parts delivery, Trane-Pueblo has not made any formal recommendations for spare parts.  However, we recognize a customer’s desire to be able to instantly respond to any problem that may present itself. Although this list is in not exhaustive, we anticipate that these parts will cover a majority of the problems that would be encountered.  The following recommendations are made:  NOTE: (Multiple components may have same part number. Reference designator in parenthesis could be used to help ID part numbers for a specific device. Trane Parts should confirm all part numbers)

Tracer UC800 Unit Controller (1K1)	1 total

Adaptive View Touch Screen Display (1A1)	1 total

Pressure Transducer; Suction Pressure (3BP1)	2	total

Pressure Transducer; Discharge Pressure (3BP2)	2 total

Temperature Sensor; Suction Temperature (3BT1)	2 total

Temperature Sensor; Discharge Temperature (3BT2)	2	total

Switch; Evaporator Water Flow (6B1)	1	total

Temperature Sensor; Evap Leaving Water Temp (5BT2)	1	total

Temperature Sensor; Evap Entering Water Temp (5BT3)	1	total

Electronic Expansion Valve (3K1)	2	total

Switch; High Pressure Cutout (3B1)	2	total

Control Power Transformer fuses (1F15)	2 total

Filter Line Drier	2 total