RTWD SPARE PARTS

Because of the reliability of our product and the speed of parts delivery, Trane-Pueblo has not made any formal recommendations for spare parts.  However, we recognize a customer’s desire to be able to instantly respond to any problem that may present itself. Although this list is in not exhaustive, we anticipate that these parts will cover a majority of the problems that would be encountered.  The following recommendations are made:

Load/Unload Solenoid (with gaskets)	2 total

Female Load Solenoid (with O rings)	1 total

Gas Pump Fill Solenoid……………………………………..1 total

Drain Solenoids……………………………………………..1 total

High Pressure Cutout Switch	1	total

Unit Fuses (as equipped)	1	total

Current Transformer	1	total

Starter Contactor…………………………………………….1 total

Transition contactor…………………………………………1 total

Resistors	3 total

Compressor heater…………………………………………..2 total

Dyna View Display	1	total

Dual Low Voltage LLID	1	total

Dual High Voltage Binary Input LLID….	1 total

Analog Input/Output LLID 	1	total

Dual Relay Output LLID	1	total

Dual High Voltage Input LLID	1	total

Power Supply LLID	1	total

Starter Module LLID	1	total

Dual Triac LLID	1	total

Dual Relay LLID	1	total

Quad Relay Output………………………………………….1 total

Refrigerant Pressure Transducer LLID	2	total

Temperature Sensor LLID	2 total

Liquid Level Sensor LLID	1	total

Expansion Valve LLID	1 total

Oil Sump Heaters	2	total

Optical Oil Loss Sensor	1 total

Oil Filter	1	total

Refrigerant Filter	1	total

Flow Switch…………………………………………………1 total