RTAF SPARE PARTS

Because of the reliability of our product and the speed of parts delivery, Trane-Pueblo has not made any formal recommendations for spare parts.  However, we recognize a customer’s desire to be able to instantly respond to any problem that may present itself. Although this list is in not exhaustive, we anticipate that these parts will cover a majority of the problems that would be encountered.  The following recommendations are made:  NOTE: (Multiple components may have same part number. Reference designator in parenthesis could be used to help ID part numbers for a specific device. Trane Parts should confirm all part numbers)

Tracer UC 800 (1K1)	1 total

Relay; AFD Status (1K3)	1 total

Dual Low Voltage Binary Input (1K5)	2	total

Dual Relay Output (1K6)	2 total

Dual Analog I/O (1K7)	2 total

Unit fuses (1F1, 1F13, 1F15)	2 ea.

Dual Triac Output (1K12)	2	total

Quad Relay Output (1K14)	2	total

Dual High Voltage Binary Input (1K17)	2	total

TD 7 Display (1A1)	1	total

Power Supply LLID (1T7) 	2	total

AFD, Compressor (1T1)	1	total

Ventilation Fan (1M1) 	1	total

Circuit Breaker Power distribution (1Q1)	1	total

Transformer (1T5)	1	total

Transformer (1T6) 	1	total

High Pressure Cutout Switch (3B1)	1	total

Oil Loss Sensor (3BL1)	1	total

Pressure Transducer LLID (3BP1)	1	total

Temperature Sensor LLID (3BT1)	1	total

Heater, Oil Separator (3E30) 	1	total

Heater, Crankcase (3E31)	1	total

Electronic Expansion Valve (3K1) 	1	total

Compressor (3M1 or 4 M1) 	1	total

Unload Solenoid (3M3) 	1	total

Load Solenoid (3M4) 	1	total

Step Load Solenoid (3M8)	1	total

Oil Solenoid (3M7) 	1	total

Condenser Fan Motor (3M11)	1	total

Solenoid Receiver Tank (3M25) 	1	total

Ventilation Motor (3M41)	1	total

Water Flow Switch (6B1) 	1	total

Thermostat, anti-freeze (6B52) 	1	total

Immersion Heater (6E50-1) 	1	total

Actuator Valve (6M1) 	1	total

Compressor Oil Filter	1	total