RTHB SPARE PARTS

Because of the reliability of our product and the speed of parts delivery, Trane-Pueblo has not made any formal recommendations for spare parts.  However, we recognize a customer’s desire to be able to instantly respond to any problem that may present itself. Although this list is in not exhaustive, we anticipate that these parts will cover a majority of the problems that would be encountered.  The following recommendations are made:

High Pressure Cutout Switch	1 total

Load/Unload Solenoid	2 total

Differential Oil Flow Switch	1 total

Low Pressure Cutout	1 total

1U1 Chiller Module	1 total

2U1 Starter Module	1 total

Evap Entering Water Temp Sensor	1 total

Evap Leaving Water Temp Sensor	1 total

Cond Entering Water Temp Sensor	1 total

Cond Leaving Water Temp Sensor	1 total

Evap Saturated Refrigerant Sensor	1 total

Cond Saturated Refrigerant Sensor	1 total

Compressor Discharge Refrigerant Sensor	1 total

Oil Filter	1 total

Refrigerant Filter	1 total