ACRC SMALL (150T-330T: 2 Compressor Units)

|  |  |  |  |
| --- | --- | --- | --- |
| **Fuse Label** | **Trane #** | **Amps** | **Option** |
| 1F1 | FUS01612 | 8 | All Units |
| 1F2 | FUS02337 | 60 | All Units |
| 1F3 | FUS02337 | 60 | All Units |
| 1F5 | FUS02212 | 30 | All Units |
| 1F6 | FUS02212 | 30 | All Units |
| 1F7 | FUS02212 | 30 | All Units |
| 1F8 | FUS02212 | 30 | All Units |
| 1F9 | FUS02212 | 30 | Additional FC Fans |
| \*1F10 | FUS01012 | 110 | 50 hp PP |
| \*1F10 | FUS00906 | 125 | 60 hp PP |
| \*1F10 | FUS00907 | 150 | 75 hp PP |
| 1F15 | FUS01282 | 20 | All Units |
| 1F16 | FUS02264 | 3 | Free Cooling |
| 1F17 | FUS02264 | 3 | Free Cooling |
| 1F18 | FUS01282 | 20 | Free Cooling |
| 1F19 | FUS01282 | 20 | Free Cooling |
| 1F20 | FUS01284 | 15 | Powered Outlet/Evap Heaters |
| 1F21 | FUS01282 | 20 | Powered Outlet/Evap Heaters |
| 1F22 | FUS01284 | 15 | Powered Outlet/Evap Heaters |
| \*9F1 | FUS01012 | 110 | 50 hp PP |
| \*9F1 | FUS00906 | 125 | 60 hp PP |
| \*9F1 | FUS00907 | 150 | 75 hp PP |
| 9F2 | FUS01903 | 1 | All PP |
| 9F3 | FUS01651 | 2.5 | All PP |
| \*1F10 / 9F1 Fuses correlate to the HP of the pump package | | | |

ACRC Large (375T-550T: 3 & 4 Compressor Units)

|  |  |  |  |
| --- | --- | --- | --- |
| **Fuse Label** | **Trane #** | **Amps** | **Option** |
| 1F1 | FUS01612 | 8 | All Units |
| 1F2 | FUS02337 | 60 | All Units |
| 1F3 | FUS02337 | 60 | All Units |
| 1F5 | FUS02212 | 30 | All Units |
| 1F6 | FUS02212 | 30 | All Units |
| 1F7 | FUS02212 | 30 | All Units |
| 1F8 | FUS02212 | 30 | All Units |
| 1F12 | FUS02212 | 30 | w/ Power Factor Correction |
| 1F15 | FUS01282 | 20 | All Units |
| 1F16 | FUS02264 | 3 | Free Cooling |
| 1F17 | FUS02264 | 3 | Free Cooling |
| 1F18 | FUS02264 | 3 | Free Cooling |
| 1F1 | FUS01612 | 8 | All Units |
| 2F2 | FUS02337 | 60 | All Units |
| 2F3 | FUS02337 | 60 | All Units |
| 2F5 | FUS02212 | 30 | All Units |
| 2F6 | FUS02212 | 30 | All Units |
| 2F7 | FUS02212 | 30 | All Units |
| 2F8 | FUS02212 | 30 | All Units |
| 2F12 | FUS02212 | 30 | w/ Power Factor Correction |
| 2F15 | FUS01282 | 20 | All Units |
| 2F18 | FUS02264 | 3 | Free Cooling |
| 3F1/4F1 | FUS02765 | 400 | Alternate Incoming Voltage |
| 3F1/4F1 | FUS02766 | 450 | Alternate Incoming Voltage |
| 3F1/4F1 | FUS02767 | 500 | Alternate Incoming Voltage |
| 3F1/4F1 | FUS02768 | 600 | Alternate Incoming Voltage |
| 3F1/4F1 | FUS02769 | 700 | Alternate Incoming Voltage |
| 3F1/4F1 | FUS02770 | 800 | Alternate Incoming Voltage |
| 3F1/4F1 | FUS02771 | 1000 | Alternate Incoming Voltage |
| 3F1/4F1 | FUS02772 | 1200 | Alternate Incoming Voltage |
| \*Auto Transformer Fuses correlate to the Nameplate MOP of the circuit | | | |