## Outdoor Units
Mini-VRF HEAT PUMP 208~230/60/1 | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 36 | 40 | RD040MHXCA | 4TVH0036B100NB | 3 Ton Mini-VRF 208-230/60/1
| 48 | 54 | RD050MHXCA | 4TVH0048B100NB | 4 Ton Mini-VRF 208-230/60/1
HEAT PUMP 208~230/60/3 | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 72 | 81 | ADX072VAFHA | 4TVH0072B300NB | 6 Ton VRF Ht Pump 208-230/60/3
| 96 | 108 | ADX096VAFHA | 4TVH0096B300NB | 8 Ton VRF Ht Pump 208-230/60/3
| 120 | 135 | ADX120VAFHA | 4TVH0120B300NB | 10 Ton VRF Ht Pump 208-230/60/3
HEAT PUMP 460/60/3 | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 72 | 81 | ADX072VAJHA | 4TVH0072B400NB | 6 Ton VRF Ht Pump 460/60/3
| 96 | 108 | ADX096VAJHA | 4TVH0096B400NB | 8 Ton VRF Ht Pump 460/60/3
| 120 | 135 | ADX120VAJHA | 4TVH0120B400NB | 10 Ton VRF Ht Pump 460/60/3
HEAT RECOVERY 208~230/60/3 | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 72 | 81 | ADX072VAFRA | 4TVR0072B300NB | 6 Ton VRF Ht Rec 208-230/60/3
| 96 | 108 | ADX096VAFRA | 4TVR0096B300NB | 8 Ton VRF Ht Rec 208-230/60/3
| 120 | 135 | ADX120VAFRA | 4TVR0120B300NB | 10 Ton VRF Ht Rec 208-230/60/3
HEAT RECOVERY 460/60/3 | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 72 | 81 | ADX072VAJRA | 4TVR0072B400NB | 6 Ton VRF Ht Rec 460/60/3
| 96 | 108 | ADX096VAJRA | 4TVR0096B400NB | 8 Ton VRF Ht Rec 460/60/3
| 120 | 135 | ADX120VAJRA | 4TVR0120B400NB | 10 Ton VRF Ht Rec 460/60/3

## Indoor Units
1-Way Cassettes | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 7.5 | 8.5 | AVXCSH023CE | 4TVE0007B100NB | 7.5 MBh VRF 1-Way Cassette
| 9.5 | 10.5 | AVXCSH032CE | 4TVE0009B100NB | 9.5 MBh VRF 1-Way Cassette
| 12 | 13.5 | AVXCSH040CE | 4TVE0012B100NB | 12 MBh VRF 1-Way Cassette
Mini 4-Way Cassettes | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 9.5 | 10.5 | AVXCMH032CE | 4TVB0009B100NB | 9.5 MBh VRF Mini 4-Way Cassette
| 12 | 13.5 | AVXCMH040CE | 4TVB0012B100NB | 12 MBh VRF Mini 4-Way Cassette
| 18 | 20 | AVXCMH052CE | 4TVB0018B100NB | 18 MBh VRF Mini 4-Way Cassette
| 20 | 23 | AVXCMH060CE | 4TVB0020B100NB | 20 MBh VRF Mini 4-Way Cassette
4-Way Cassettes | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 18 | 20 | AVXC4H052CE | 4TVC0018B100NB | 18 MBh VRF 4-Way Cassette
| 24 | 27 | AVXC4H072CE | 4TVC0024B100NB | 24 MBh VRF 4-Way Cassette
| 28 | 34 | AVXC4H100CE | 4TVC0030B100NB | 28 MBh VRF 4-Way Cassette
| 38 | 40 | AVXC4H110CE | 4TVC0036B100NB | 38 MBh VRF 4-Way Cassette
| 48 | 54 | AVXC4H145CE | 4TVC0048B100NB | 48 MBh VRF 4-Way Cassette
Slim Duct | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 6 | 7 | AVXDSH020CE | 4TVL0006B100NB | 6 MBh VRF Slim Duct
| 7.5 | 8.5 | AVXDSH032CE | 4TVL0007B100NB | 7.5 MBh VRF Slim Duct
| 12 | 13.5 | AVXDSH040CE | 4TVL0012B100NB | 12 MBh VRF Slim Duct
| 18 | 20 | AVXDSH052CE | 4TVL0018B100NB | 18 MBh VRF Slim Duct
| 24 | 27 | AVXDSH072CE | 4TVL0024B100NB | 24 MBh VRF Slim Duct
| 30 | 34 | AVXDSH100CE | 4TVL0030B100NB | 30 MBh VRF Slim Duct
| 36 | 40 | AVXDSH110CE | 4TVL0036B100NB | 36 MBh VRF Slim Duct
| 48 | 54 | AVXDSH145CE | 4TVL0048B100NB | 48 MBh VRF Slim Duct
Mid Static Duct | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 30 | 34 | AVXDUH100CE | 4TVD0030B100NB | 30 MBh VRF Mid Static Duct
| 36 | 40 | AVXDUH110CE | 4TVD0036B100NB | 36 MBh VRF Mid Static Duct
| 48 | 54 | AVXDUH145CE | 4TVD0048B100NB | 48 MBh VRF Mid Static Duct
High Static Duct | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 76.8 | TBD | ND220HHXCE | 4TVA0076B100NB | 76 MBh VRF High Static Duct
| 96 | TBD | ND280HHXCE | 4TVA0096B100NB | 96 MBh VRF High Static Duct
High Walls (Neo Forte) | Capacity |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
| Clg | Htg
| 6 | 7 | AVXWNH020CE | 4TVW0006B100NB | 6 MBh VRF High Wall
| 9.5 | 10.5 | AVXWNH032CE | 4TVW0009B100NB | 9.5 MBh VRF High Wall
| 12 | 13.5 | AVXWNH040CE | 4TVW0012B100NB | 12 MBh VRF High Wall
| 18 | 20 | AVXWNH052CE | 4TVW0018B100NB | 18 MBh VRF High Wall
| 20 | 23 | AVXWNH060CE | 4TVW0020B100NB | 20 MBh VRF High Wall
| 23.2 | TBD | ND072NHXCA (New) | 4TVW0024B100NB | 24 MBh VRF High Wall

## Accessories
Family |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description | Original Samsung Descriptions 비고 | Questions/Comments
REFNET | Y- joint | TXJ-YA1509K | 4YDK1509B0051A | Y-Joint (51 MBh and below) | 15.0kW(51 MBH) and below
|  | TXJ-YA2512K | 4YDK2512B0138A | Y-Joint (51 to 138 MBh) | 15.0kW~40.6kW(51~138 MBH) | We will get asked "which one do I use for 138 MBh?"
|  | TXJ-YA2812K | 4YDK2812B0160A | Y-Joint (138 to 160 MBh) | 40.6kW~46.4kW(138~160 MBH)
|  | TXJ-YA2815K | 4YDK2815B0240A | Y-Joint (160 to 240 MBh) | 46.4kW~69.6kW(160~240 MBH) | We will get asked "which one do I use for 240 MBh?"
|  | TXJ-YA3419K | 4YDK3419B0336A | Y-Joint (240 to 336 MBh) | 69.6kW~98.6kW(240~336 MBH)
|  | TXJ-YA4119K | 4YDK4119B0468A | Y-Joint (336 to 468 MBh) | 98.6kW~139.2kW(336~468 MBH) | We will get asked "which one do I use for 336 MBh?"
|  | TXJ-YA4422K | 4YDK4422B0999A | Y-Joint (above 468 MBh) | More than 139.2kW(468 MBH)
| Y-joint (High Pressure Gas) | TXJ-YA1500K | 4YDK1500B0080A | Y Joint (Ht Rec 80 MBh and below) | 23.2kW (80 MBH) and below
|  | TXJ-YA2500K | 4YDK2500B0998A | Y Joint (Ht Rec 80 to 240 MBh) | 23.2kW ~ 69.6 kW(80~240 MBH) | Why is there a gap between 240 and 336 MBh?
|  | TXJ-YA3100K | 4YDK3100B0468A | Y Joint (Ht Rec 336 to 468 MBh) | 98.6kW ~ 139.2 kW(336~468 MBH)
|  | TXJ-YA3800K | 4YDK3800B0999A | Y Joint (Ht Rec 468 MBh and above) | More than 139.2 kW(468 MBH)
| Outdoor Joint (Outdoor Connection) | TXJ-TA3819K | 4TDK3819B0000A | ODU Connection (all models) | 48HP and below
| Outdoor Joint (High Pressure Gas) | TXJ-TA3100K | 4TDK3100B0000A | ODU Connection (Ht Rec models) | 48HP and below
| Header Joint | TXJ-HA2512K | 4HJK2512B0159A | 4 IDU Header (below 160 MBh) | 4 indoor units - Less than 46.4kW(160 MBH)
|  | TXJ-HA3115K | 4HJK3115B0241A | 8 IDU Header (240 MBh & below) | 8 indoor units - 69.6kW(240 MBH) and below
|  | TXJ-HA3819K | 4HJK3819B0998A | 8 IDU Header (above 240 MBh) | 8 indoor units - More than 69.6kW(240 MBH)
Family |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
MCU-KIT | Below 6 indoor units | TCU-Y6NCE | 4MCUCUY6NCE000 | Ht Rec MCU (6 IDU and less)
| Below 4 indoor units | TCU-Y4NCE | 4MCUCUY4NCE000 | Ht Rec MCU (4 IDU and less)
|  | TCU-Y4NCE1 | 4MCUCUY4NCE100 | Ht Rec MCU (4 IDU, incl EEVs)
Family |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
EEV Kits | Wall-mounted & Ceiling indoor unit (For 2 indoor units) | TXD-A13K116A | 4EEVXDA13K116A | Dual EEV (12 MBh and 18 MBh+)
|  | TXD-A13K200A | 4EEVXDA13K200A | Dual EEV (12 MBh and 12 MBh)
|  | TXD-A16K200A | 4EEVXDA16K200A | Dual EEV (19 to 30 MBh)
|  | TXD-A22K200A | 4EEVXDA22K200A | Dual EEV (19 to 24 MBh)
| Wall-mounted & Ceiling indoor unit (For 3 units) | TXD-A13K216A | 4EEVXDA13K216A | Triple EEV (2x 12 and 18 MBh+)
|  | TXD-A13K300A | 4EEVXDA13K300A | Triple EEV (12 MBH and less)
|  | TXD-A16K213A | 4EEVXDA16K213A | Triple EEV (12 and 2x 18 MBh+)
|  | TXD-A16K300A | 4EEVXDA16K300A | Triple EEV (18 MBh and above)
| Wall-mounted & Ceiling indoor unit (For single unit) | TEV-A13SA | 4EEVEVA13SA000 | Single EEV (12 MBH and less)
|  | TEV-A16SA | 4EEVEVA16SA000 | Single EEV (18 MBH and above)
Family |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
Cassette Panel | SLIM 1-WAY | PC1NUSMT | TVEPANPC1NUSMT | Slim 1-Way Cassette Panel
| MINI 4-WAY | PMSET | TVEPANPC4SGSET | Mini 4-Way Cassette Panel
| 4-WAY | PC4NUSMT | TVEPANPC4NUSMT | 4-Way Cassette Panel
Family |  | Samsung Cross Reference Model | Proposed Trane Model Number | Description
DRAIN PUMP | SLIM DUCT 1,2 | TDP-E075SEK | CONDPUMPXVLB01 | Cond Pump (7 to 24 MBh slim duct)
| SLIM DUCT 3 | TDP-E075SEK1 | CONDPUMPXVLB02 | Cond Pump (30 to 47 MBh slim duct)
| MA DUCT-0 / MA DUCT 1 | TDP-M075SGU1 | CONDPUMPXVDB01 | Cond Pump (30 to 36 MBh mid duct)
| MA DUCT 2 | TDP-M075SGU2 | CONDPUMPXVDB02 | Cond Pump (48 MBh mid duct)
| HSP DUCT | TDP-N047SNC1 | CONDPUMPXVAB01 | Cond Pump (high static duct)

## Control Systems
| Samsung Model Number | Samsung Cross Reference Model | Proposed Trane Model Number | Description | Questions/Comments
Interface Module | MIM-B16 | TIM-B16 | TVCTRLTIMB1600 | VRF Watt-Hr Meeter
| MIM-B17 | TIM-B17 | TVCTRLTIMB1700 | VRF BACnet Gateway
| MIM-B18 | TIM-B18 | TVCTRLTIMB1800 | VRF LonWorks Gateway
| MIM-B13E | TIM-B13E | TVCTRLTIMB13E0 | ????? | What is this Interface Module Used with and for what application?
| MIM-B13D | TIM-B13D | TVCTRLTIMB13D0 | ????? | What is this Interface Module Used with and for what application?
| MIM-B14 | TIM-B14 | TVCTRLTIMB1400 | VRF External Control Interface
| MIM-D00A | TIM-D00A | TVCTRLTIMD00A0 | VRF Data Management Server
MODE SELECTION SWITCH | MCM-C200 | TCM-C200 | TVCTRLTCMC2000 | VRF Mode Selection Switch
CENTRALIZED CONTROLLER | MCM-A202D | TCM-A202D | TVCTRLTCMA202D | VRF Central Controller
WIRELESS REMOTE | MR-DH00U | TR-DH00U | TVCTRLTRDH00U0 | VRF Wireless Remote (°F)
| MR-DH00 | TR-DH00 | TVCTRLTRDH0000 | VRF Wireless Remote (°C)
WIRED REMOTE | MWR-WE10 | TWR-WE10 | TVCTRLTWRWE100 | VRF Wired Remote Controller
SIGNAL RECEIVER | MRK-A00 | TRK-A01 | TVCTRLTRKA0100 | VRF Wireless Signal Receiver
RECEIVER WIRE | MRW-10A | TRW-10A | TVCTRLTRW10A00 | VRF Receiver Wire
S-NET 1+ | MIM-C02 | TIM-C02 | TVCTRLTIMC0200 | VRF RS232 to RS485 Converter
S-NET 3 | MST-P3P | TST-P3P | TVCTRLTSTP3P00 | VRF Building Control Software
S-NET 3 Mini | MST-S3W | TBD | TBD | VRF Touch Screen Building Control | Has a replacement plan been finalized?