RTAA SPARE PARTS

Because of the reliability of our product and the speed of parts delivery, Trane-Pueblo has not made any formal recommendations for spare parts.  However, we recognize a customer’s desire to be able to instantly respond to any problem that may present itself. Although this list is in not exhaustive, we anticipate that these parts will cover a majority of the problems that would be encountered.  The following recommendations are made:

Load/Unload Solenoid	2 total

Female Load Solenoid (70-125 ton only)	1 total

Differential Oil Flow Switch (130-400 ton only)	1 total

High Pressure Cutout	1 total

Low Pressure Cutout Switch (70-125 ton only)	1 total

Condenser Fan	1 total

Condenser Fan Fuses	3 total

1U1 Chiller Module	1 total

1U3 EXV Module (interchangeable w/ 1U8)	1 total

1U4 Compressor Module (interchangeable w/ 1U5,6,7)	1 total

Evap Entering Water Temp Sensor	1 total

Evap Leaving Water Temp Sensor	1 total

Compressor Suction Sensor	1 total

Oil Temp Sensor (70-125 ton only)	1 total

Evap Saturated Refrigerant Sensor	1 total

Cond Saturated Refrigerant Sensor	1 total

Expansion Valve	2 total

Oil Control Solenoid Valve (130-400 ton only)	1 total

Oil Filter	1 total

Refrigerant Filter/Dryer	1 total