ACRB and ACRC SPARE PARTS

Because of the reliability of our product and the speed of parts delivery, Trane-Pueblo has not made any formal recommendations for spare parts.  However, we recognize a customer’s desire to be able to instantly respond to any problem that may present itself. Although this list is in not exhaustive, we anticipate that these parts will cover a majority of the problems that would be encountered.  The following recommendations are made:  NOTE: (Multiple components may have same part number. Reference designator in parenthesis could be used to help ID part numbers for a specific device. Trane Parts should confirm all part numbers)

Tracer Symbio 800 	1 total

Motor Winding Temp. Sensor Input LLID (1K10)	1 total

Dual Relay Output LLID (1K14)	1	total

Dual Binary Input LLID (1K15)	1 total

Quad Relay Output LLID (1K18)	1 total

Unit fuses (as equipped)	1	total

Dual Analog Input/output LLID (1K20)	1	total

TD 7 Display (1A1)	1	total

Power Supply LLID (1T13)	1	total

Adaptive Frequency Drive (1T1)	1	total

High Pressure Cutout Switch (3B1)	1	total

Liquid Level Sensor (3BL1)	1	total

Oil Loss Sensor (3BL3)	1	total

Pressure Transducer LLID (3BP1)	1	total

Temperature Sensor LLID (3BT3)	1	total

Condenser Fan Motor (3M11)	1	total

Electronic Expansion Valve (3M23)	1	total

Drive Cooling Pump (3M3)	1	total

Evaporator Immersion Heaters (6E7)	2 total

Oil Separator Heater (3E5)	1	total

Compressor Oil Filter (GP4 Vvi)	1	total

Compressor Oil Filter (GP2.5)	1	total

Compressor Discharge Heater (3E3)……………………….1 total

Compressor Immersion Heater (3E1) 	1	total

Oil Separator Heater (3E5) 	1	total

Evaporator Flow Sensor (6BF1)	1	total

Cooling Fans, VAT option (if equipped)	1	total

Cooling Fans, 12-pulse option (if equipped)	1	total

Drive cooling bypass valve (if equipped)	1 total

Control Power Transformer fuses (1F33)	2 total

Power factor correction capacitor – PN X13010836001, Service mnemonic CPT02698. Estimated replacement timing = 5-7 years.	2 total

Uncoated Microchannel (ACR 375 – 550T) – PN X24161249001, Service mnemonic COL29562	2 total

Coated Microchannel (if equipped) – PN X24161249002, Service mnemonic COL29533	2 total