RTHD SPARE PARTS

Because of the reliability of our product and the speed of parts delivery, Trane-Pueblo has not made any formal recommendations for spare parts.  However, we recognize a customer’s desire to be able to instantly respond to any problem that may present itself. Although this list is in not exhaustive, we anticipate that these parts will cover a majority of the problems that would be encountered.  The following recommendations are made:

Load/Unload Solenoid (with gaskets)	2 total

Female Load Solenoid (with O rings)	1 total

High Pressure Cutout Switch	1	total

Unit Fuses (as equipped)	1	total

Current Transformer	1	total

Starter Contactor	1 total

Dyna View Display	1	total

Dual Low Voltage LLID	1	total

Dual High Voltage Binary Input LLID….	1 total

Analog Input/Output LLID (if equipped)	1	total

Dual Relay Output LLID	1	total

Dual High Voltage Input LLID	1	total

Power Supply LLID	1	total

Starter Module LLID	1	total

Dual Triac LLID	1	total

Dual Relay LLID	1	total

Refrigerant Pressure Transducer LLID	1	total

Temperature Sensor LLID	1 total

Liquid Level Sensor LLID	1	total

Expansion Valve LLID	1 total

Dual Port EXV Actuator	1 total

Oil Sump Heaters	2	total

Master Oil Line Solenoid	1 total

Oil Loss Level Switch	1 total

Oil Filter	1	total

Refrigerant (Gas Pump) Filter	1	total

LLID Bus repair kit (KIT07404)	1	total