# CGAM SPARE PARTS

Because of the reliability of our product and the speed of parts delivery, Trane-Pueblo has not made any formal recommendations for spare parts.  However, we recognize a customer’s desire to be able to instantly respond to any problem that may present itself. Although this list is in not exhaustive, we anticipate that these parts will cover a majority of the problems that would be encountered.  The following recommendations are made:

- Discharge Pressure Transducers …….Qty = 2

- Discharge High Temperature Sensor …….Qty = 2 (limited applications)

- Dynaview CH530 …..Qty = 1

- Fan Motors ….Qty = 2 inverter duty motors……Qty = 3-6 regular fan motors

- Filter Dryers …Qty = 2

- Effector Flow Switch….Qty =  1

- Entering and Leaving Water Temperature Sensors …..Qty =  2

- EXV …..Qty = 2

- High Pressure Switch …..Qty =  2

- Suction Temperature Rapid Sensors …..Qty = 2

- Suction Pressure Transducers …..Qty =  2