CGAM SPARE PARTS

Because of the reliability of our product and the speed of parts delivery, Trane-Pueblo has not made any formal recommendations for spare parts. However, we recognize a customer’s desire to be able to instantly respond to any problem that may present itself. Although this list is in not exhaustive, we anticipate that these parts will cover a majority of the problems that would be encountered. The following recommendations are made:

* Discharge Pressure Transducers …….Qty = 2
* Discharge High Temperature Sensor …….Qty = 2 (limited applications)
* Dynaview CH530 …..Qty = 1
* Fan Motors ….Qty = 2 inverter duty motors……Qty = 3-6 regular fan motors
* Filter Dryers …Qty = 2
* Effector Flow Switch….Qty = 1
* Entering and Leaving Water Temperature Sensors …..Qty = 2
* EXV …..Qty = 2
* High Pressure Switch …..Qty = 2
* Suction Temperature Rapid Sensors …..Qty = 2
* Suction Pressure Transducers …..Qty = 2