RTWD SPARE PARTS

Because of the reliability of our product and the speed of parts delivery, Trane-Pueblo has not made any formal recommendations for spare parts.  However, we recognize a customer’s desire to be able to instantly respond to any problem that may present itself. Although this list is not exhaustive, we anticipate that these parts will cover a majority of the problems that would be encountered.  The following recommendations are made:  

Load/Unload Solenoid (with gaskets)
2 total

Female Load Solenoid (with O rings)
1 total

Oil Return Purge Valve……………………………………..1 total

                     High Pressure Cutout Switch
1
total

Unit Fuses (as equipped)
1
total

Current Transformer
1
total

Starter Contactor…………………………………………….1 total

Transition contactor…………………………………………1 total

Resistors
3 total

Compressor heater…………………………………………..2 total

TD7 Display
1
total

Symbio 800 controller………………………………………1 total

Dual Low Voltage LLID
1
total

Dual High Voltage Binary Input LLID….
1 total

Analog Input/Output LLID 
1
total

Dual Relay Output LLID
1
total

Dual High Voltage Input LLID
1
total

Power Supply LLID
1
total

Starter Module LLID
1
total

Dual Triac LLID
1
total

Dual Relay LLID
1
total

Quad Relay Output………………………………………….1 total
Refrigerant Pressure Transducer LLID
2
total
Temperature Sensor LLID
2 total

Liquid Level Sensor LLID
1
total

Expansion Valve LLID
1 total

Oil Sump Heaters
2
total

Optical Oil Loss Sensor
1 total

Oil Filter
1
total

Refrigerant Filter
1
total


           Flow Switch…………………………………………………1 total

