RTWA SPARE PARTS


Because of the reliability of our product and the speed of parts delivery, Trane-Pueblo has not made any formal recommendations for spare parts.  However, we recognize a customer’s desire to be able to instantly respond to any problem that may present itself. Although this list is in not exhaustive, we anticipate that these parts will cover a majority of the problems that would be encountered.  The following recommendations are made:


Load/Unload Solenoid (3B1L3 & 4 or 4B1L6 & 7)	2 total


Female Load Solenoid (3B1L2 or 4B1L5)	1 total


Chiller Module (1U1)	1 total


EXV Module (1U3)	1 total


Compressor Module (1U4 or 1U5)	1 total


High Pressure Cutout (3B1S1 or 4B1S2)	1 total


Evap Entering Water Temp Sensor (6RT7)	1 total


Evap Leaving Water Temp Sensor (6RT8)	1 total


Cond Entering Water Temp Sensor (6RT14)	1 total


Cond Leaving Water Temp Sensor (6RT15)	1 total


Compressor Suction Sensor (3B1RT5 or 4B1RT6)	1 total


Evap Saturated Refrigerant Sensor (6RT9 or 6RT10)	1 total


Cond Saturated Refrigerant Sensor (6RT12 or 6RT13)	1 total


Oil Temp Sensor (3B1RT1 or 4B1RT2)	1 total


Expansion Valve (6B1 or 6B2)	2 
